## QUOTATION
5341 Perimeter Parkway Ct. Montgomery AL 36116 Email : tkelectricoffice@gmail.com
Q U O T A T I O N
1 | SERVICE PROVIDER |  |  |  |  | 8 | PO NUMBER / DATE OF QUOTATION
| TK ELECTRIC LLC |  |  |  |  | TKM101027 |  |  |  |  | 2026-02-17
765 Us Highway 80, Eden, GA 31307
2 | CONSIGNEE |  |  |  |  | 9 | REMARKS
HMGMA
Bryan County Megasite, Ellabell, GA 31308
3 | CONTACT
Mr. Hyungjoon Jang
Hyungjoon.Jang@hmgma.com
4 | PROJECT NAME |  |  | 5 | SERVICE PERIOD
| 800_POD INSPECTION |  |  |  | 2026
6 | CARRIER |  |  | 7 | SERVICE LOCATION | 10 | PROJECT MANAGER |  |  |  | 11 | SAFETY MANAGER
| TK ELECTRIC LLC |  |  |  | Ellabell ,GA |  | Park, Junggu |  |  |  |  | CHRIS, HILGER
12 | PROJECT NAME & DESCRIPTION |  |  |  |  | 13 | QTY | 14 | UNIT |  | 15 | S. TOTAL
■POD INSPECTION
□ POWER DISTRIBUTION PLAN | [5 empty] | 1 |  | LOT |  |  | 1
□ GROUNDING PLAN | [5 empty] | 1 |  | LOT |  |  | 1
□ MECHANICAL POWER PLAN | [5 empty] | 1 |  | LOT |  |  | 1
□ LIGHTING PLAN | [5 empty] | 1 |  | LOT |  |  | 1
CONDITIONS AND TERMS | [5 empty] | MATERIALS |  |  |  |  | 244974.04
[6 empty] | LABOR |  |  |  |  | 185226.87
[6 empty] | EXPENSE |  |  |  |  | 30711.3
[6 empty] | EQUIPMENT |  |  |  |  | 9300
[6 empty] | SUB. TOTAL |  |  |  |  | 470212.21
[6 empty] | SAFETY / MANAGEMENT |  |  |  |  | 18851.3094
489063.5194
APPROVED BY : | [5 empty] | G. TOTAL |  |  |  |  | 489000
DATE : |  | 2026-02-17 | [7 empty] | TAE K. KIM / PRESIDENT

## B.O.Q
[ B.O.Q ]
PROJECT :POD INSPECTION
CONSTRUCTION PERIOD : '2026
SUBCONTRACTOR : TK ELECTRIC LLC
| 품 명 DESCRIPTION OF WORK | 규 격 SPECIFICATION | 단 위 UNIT | Bill of Quantity | [8 empty] | 비 고 REMARKS
|  |  |  | 수 량 Q'ty | ITEM PRICE PER ITEM |  |  | 단 가 Unit Price | 금 액 Amount | ITEM PRICE PER CLASSIFICATION
[5 empty] | MATERIAL | LABOR | EXPENSE |  |  | MATERIAL | LABOR | EXPENSE |  | 2026-01-23
■ Direct construction cost
| ■POD INSPECTION |  | L/S | [5 empty] | 470212.21 | 244974.04 | 185226.87 | 30711.3
| □ POWER DISTRIBUTION PLAN |  | L/S | 1 | 188331.94 | 123434.87 | 22472.55 |  | 334239.36 | 188331.94 | 123434.87 | 22472.55
| □ GROUNDING PLAN |  | L/S | 1 | 11212.46 | 8627.79 | 1414.64 |  | 21254.89 | 11212.46 | 8627.79 | 1414.64
| □ MECHANICAL POWER PLAN |  | L/S | 1 | 15049.99 | 10457.59 | 1831.4 |  | 27338.98 | 15049.99 | 10457.59 | 1831.4
VPC Parking lot B3_Highmast installation | □ LIGHTING PLAN |  | L/S | 1 | 26672.25 | 34514.34 | 4204.61 |  | 65391.2 | 26672.25 | 34514.34 | 4204.61
| □ RECEPTACLE PLAN |  | L/S | 1 | 3707.4 | 8192.28 | 788.1 |  | 12687.78 | 3707.4 | 8192.28 | 788.1
| □ RENTAL EQUIPMENT |  | L/S | 1 | 0 | 0 | 9300 |  | 9300 | 0 | 0 | 9300
| Sub. Total | [7 empty] | 470212.21 | 244974.04 | 185226.87 | 30711.3
Parking lot C1_Highmast installation | ■ Indirect construction cost
| SAFETY / MANAGEMENT |  | L/S | 1 |  |  |  |  | 18851.3094
| Sub. Total | [7 empty] | 18851.3094 | 0 | 0 | 0
| Grand Total | [7 empty] | 489063.5194
G. TOTAL
■POD INSPECTION
1.POD INSPECTION
□ POWER DISTRIBUTION PLAN | □ POWER DISTRIBUTION PLAN
NEW PANEL(PO-8001)600 AMP 480/277V NEMA1 | NEW PANEL(PO-8001) | 600 AMP 480/277V NEMA1 | EA | 1 | 12145 | 680 | 1012.4 | 13837.4 | 13837.4 | 12145 | 680 | 1012.4
TRANSFORMER (TRO-8001)45KVA 480:208/120V) | TRANSFORMER (TRO-8001) | 45KVA 480:208/120V) | EA | 1 | 3887 | 800 | 358.96 | 5045.96 | 5045.96 | 3887 | 800 | 358.96
NEW PANEL(PO-LDP)125 AMP 208/120V 3PH,4W 42CKT | NEW PANEL(PO-LDP) | 125 AMP 208/120V 3PH,4W 42CKT | EA | 1 | 1600 | 340 | 148.4 | 2088.4 | 2088.4 | 1600 | 340 | 148.4
PVC CONDUIT, SCHEDULE 404" | PVC CONDUIT, SCHEDULE 40 | 4" | FT | 2000 | 8.1129 | 11 | 1.309 | 20.4219 | 40843.82 | 16225.76 | 22000 | 2618.06
PVC CONDUIT, SCHEDULE 40 ELBOW4" | PVC CONDUIT, SCHEDULE 40 ELBOW | 4" | FT | 8 | 21.7654 | 15 | 2.6412 | 39.4066 | 315.24 | 174.12 | 120 | 21.12
MANHOLE (CONCRETE TYPE)5'W x 5'H x 5'D | MANHOLE (CONCRETE TYPE) | 5'W x 5'H x 5'D | EA | 5 | 7200 | 5800 | 924 | 13924 | 69620 | 36000 | 29000 | 4620
Asphalt cutting, Excavate, Concrete back filling, Asphalt finish3'W x 4'H (Asphalt cutting) 110ft | Asphalt cutting, Excavate, Concrete back filling, Asphalt finish | 3'W x 4'H (Asphalt cutting) 110ft | FT | 1000 | 16.4 | 9.8 | 1.9 | 28.1 | 28100 | 16400 | 9800 | 1900
Single Conductor (THHN/THWN) - StrandedAWG #350 | Single Conductor (THHN/THWN) - Stranded | AWG #350 | EA | 8800 | 9.84 | 5.72 | 1.1304 | 16.6904 | 146875.52 | 86592 | 50336 | 9947.52
Single Conductor (THHN/THWN) - StrandedAWG #1/0 (GROUNDING) | Single Conductor (THHN/THWN) - Stranded | AWG #1/0 (GROUNDING) | FT | 2200 | 3.344 | 1.8 | 0.37552 | 5.5195 | 12142.94 | 7356.8 | 3960 | 826.14
LIQUIDTIGHT FLEXIBLE CONDUIT1-1/2" | LIQUIDTIGHT FLEXIBLE CONDUIT | 1-1/2" | EA | 6 | 6.1777 | 8.5387 | 1.0065 | 15.723 | 94.32 | 37.06 | 51.23 | 6.03 |  |  | 18.84 | 14.508
CONDUIT HANGER SUPPORT1-1/2" | CONDUIT HANGER SUPPORT | 1-1/2" | FT | 4 | 12.38 | 14.66 | 1.87 | 28.91 | 115.64 | 49.52 | 58.64 | 7.48
ELECTRICAL METALLIC TUBING (EMT)+FITTING1-1/2" | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 1-1/2" | EA | 10 | 3.1022 | 4.2694 | 0.50434 | 7.8759 | 78.75 | 31.02 | 42.69 | 5.04
Single Conductor (THHN/THWN-2) - StrandedAWG#4 | Single Conductor (THHN/THWN-2) - Stranded | AWG#4 | FT | 60 | 2.0289 | 1.449 | 0.24925 | 3.7271 | 223.62 | 121.73 | 86.94 | 14.95
Single Conductor (THHN/THWN-2) - StrandedAWG#8(GROUNDING) | Single Conductor (THHN/THWN-2) - Stranded | AWG#8(GROUNDING) | EA | 20 | 0.58892 | 0.90563 | 0.10145 | 1.596 | 31.9 | 11.77 | 18.11 | 2.02
Single Conductor (THHN/THWN-2) - StrandedAWG#1 | Single Conductor (THHN/THWN-2) - Stranded | AWG#1 | FT | 80 | 2.33 | 1.64 | 0.2848 | 4.2548 | 340.38 | 186.4 | 131.2 | 22.78
Single Conductor (THHN/THWN-2) - StrandedAWG#6(GROUNDING) | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | EA | 20 | 0.87 | 1.04 | 0.132 | 2.042 | 40.84 | 17.4 | 20.8 | 2.64
LIQUIDTIGHT FLEXIBLE CONDUIT2" | LIQUIDTIGHT FLEXIBLE CONDUIT | 2" | FT | 6 | 6.18 | 8.54 | 1.0068 | 15.7268 | 94.36 | 37.08 | 51.24 | 6.04
ELECTRICAL METALLIC TUBING (EMT)+FITTING2" | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2" | EA | 10 | 3.6339 | 4.8386 | 0.58103 | 9.0536 | 90.52 | 36.33 | 48.38 | 5.81
CONDUIT HANGER SUPPORT2" | CONDUIT HANGER SUPPORT | 2" | FT | 4 | 14.38 | 16.66 | 2.15 | 33.19 | 132.76 | 57.52 | 66.64 | 8.6
PVC CONDUIT, SCHEDULE 401" ( TR Ground) | PVC CONDUIT, SCHEDULE 40 | 1" ( TR Ground) | EA | 30 | 0.759 | 3.0245 | 0.24219 | 4.0257 | 120.76 | 22.77 | 90.73 | 7.26
Single Conductor (THHN/THWN-2) - StrandedAWG#6(TR GROUNDING) | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(TR GROUNDING) | FT | 30 | 0.87 | 1.04 | 0.132 | 2.042 | 61.26 | 26.1 | 31.2 | 3.96
CONNECTION AND TERMINATION#350 Kcmil COMPRESSION TYPE | CONNECTION AND TERMINATION | #350 Kcmil COMPRESSION TYPE | EA | 16 | 21.659 | 19.711 | 2.9154 | 44.2854 | 708.55 | 346.54 | 315.37 | 46.64
CONNECTION AND TERMINATIONAWG#1/0 COMPRESSION TYPE | CONNECTION AND TERMINATION | AWG#1/0 COMPRESSION TYPE | FT | 4 | 9.229 | 11.684 | 1.4394 | 22.3524 | 89.39 | 36.91 | 46.73 | 5.75
CONNECTION AND TERMINATIONAWG#1 COMPRESSION TYPE | CONNECTION AND TERMINATION | AWG#1 COMPRESSION TYPE | EA | 8 | 7.27 | 7.85 | 1.0526 | 16.1726 | 129.38 | 58.16 | 62.8 | 8.42
CONNECTION AND TERMINATIONAWG#4 COMPRESSION TYPE | CONNECTION AND TERMINATION | AWG#4 COMPRESSION TYPE | FT | 6 | 5.379 | 5.819 | 0.77946 | 11.9775 | 71.85 | 32.27 | 34.91 | 4.67
CONNECTION AND TERMINATIONAWG#6 COMPRESSION TYPE | CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | EA | 2 | 2.673 | 4.531 | 0.4857 | 7.6897 | 15.37 | 5.34 | 9.06 | 0.97
CONNECTION AND TERMINATIONAWG#8 COMPRESSION TYPE | CONNECTION AND TERMINATION | AWG#8 COMPRESSION TYPE | FT | 4 | 1.584 | 4.094 | 0.37236 | 6.0504 | 24.18 | 6.33 | 16.37 | 1.48
ALUMINUM CABLE TRAY (LADDER TYPE)24"Width, 4"height, 9"rung spacing | ALUMINUM CABLE TRAY (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | EA | 170 | 19.0476 | 19.23 | 2.6776 | 40.9552 | 6962.38 | 3238.09 | 3269.1 | 455.19
| ALUMINUM HORIZONTAL ELBOW (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | FT | 2 | 182 | 42.15 | 17.089 | 241.239 | 482.47 | 364 | 84.3 | 34.17
| ALUMINUM VERTICAL ELBOW (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | EA | 1 | 195 | 44.25 | 18.255 | 257.505 | 257.5 | 195 | 44.25 | 18.25
| CABLE TRAY SUPPORT | 24" Width including beam clamp, square washer, unistrut, 2 rods(length:4ft~8ft, dia: 9/16"), etc | FT | 29 | 78.09 | 51.9 | 9.3612 | 139.3512 | 4041.18 | 2264.61 | 1505.1 | 271.47
| CABLE TRAY BONDING JUMPER | 12" | EA | 22 | 34.969 | 14.2312 | 3.6514 | 52.8516 | 1162.72 | 769.31 | 313.08 | 80.33
| [ Sub Total ] | [7 empty] | 334239.36 | 188331.94 | 123434.87 | 22472.55
□ GROUNDING PLAN
| Single Conductor (THHN/THWN) - BARE | AWG#4/0(GROUNDING) | SET | 540 | 5.2685 | 4.4738 | 0.68991 | 10.4322 | 5633.35 | 2844.97 | 2415.84 | 372.54
| Excavation /w backfill | W8" x H24" MESH | FT | 460 | 17.2 | 8.5 | 1.886 | 27.586 | 12689.56 | 7912 | 3910 | 867.56
| PVC CONDUIT, SCHEDULE 40 | 1" | EA | 40 | 1.4759 | 2.047 | 0.24089 | 3.7638 | 150.54 | 59.03 | 81.88 | 9.63
| COPPER ROD | 3/4 " X 10 ' | EA | 8 | 29.19 | 256.1625 | 17.705 | 303.0575 | 2424.45 | 233.52 | 2049.3 | 141.63
| EXOTHEMIC WELDING CONNECTION (COLUMN) | Mold , Ultra Shot , #90 , Weld to Column | FT | 4 | 13.5799 | 14.2312 | 1.9403 | 29.7515 | 118.99 | 54.31 | 56.92 | 7.76
| EXOTHEMIC WELDING CONNECTION (GROUND ROD) | Mold , Ultra Shot , #90 , Weld to Rod | EA | 8 | 13.5799 | 14.2312 | 1.9403 | 29.7515 | 238 | 108.63 | 113.85 | 15.52
[8 empty] | 0 | 0 | 0 | 0 | 0
| [ Sub Total ] | [7 empty] | 21254.89 | 11212.46 | 8627.79 | 1414.64
□ MECHANICAL POWER PLAN
| CONDUIT HANGER SUPPORT | 2-1/2" | SET | 15 | 14.38 | 15.66 | 2.09 | 32.13 | 481.95 | 215.7 | 234.9 | 31.35
| CONDUIT HANGER SUPPORT | 3/4" | SET | 111 | 12.38 | 14.66 | 1.87 | 28.91 | 3209.01 | 1374.18 | 1627.26 | 207.57
| CONNECTION AND TERMINATION | AWG#3/0 COMPRESSION TYPE | EA | 18 | 11.684 | 9.4877 | 1.504 | 22.6757 | 408.15 | 210.31 | 170.77 | 27.07
| CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | FT | 6 | 2.67 | 4.53 | 0.4854 | 7.6854 | 46.11 | 16.02 | 27.18 | 2.91
| CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 132 | 0.76 | 3.02 | 0.242 | 4.022 | 530.9 | 100.32 | 398.64 | 31.94
| DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | FT | 6 | 142.8546 | 77.625 | 16.0859 | 236.5654 | 1419.38 | 857.12 | 465.75 | 96.51
| ELECTRICAL METALLIC TUBING (EMT) ELBOW | 2-1/2" | EA | 3 | 22.5 | 86.85 | 7.011 | 116.361 | 349.08 | 67.5 | 260.55 | 21.03
| ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2-1/2" | FT | 90 | 5.5217 | 9.108 | 0.98821 | 15.6179 | 1405.6 | 496.95 | 819.72 | 88.93
| ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 540 | 1.16 | 2.99 | 0.2722 | 4.4222 | 2387.98 | 626.4 | 1614.6 | 146.98
| LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 72 | 1.58 | 2.82 | 0.2956 | 4.6956 | 338.08 | 113.76 | 203.04 | 21.28
| LIQUIDTIGHT FLEXIBLE CONDUIT CONNECTOR | 3/4" | EA | 24 | 4.25 | 3.14 | 0.5284 | 7.9184 | 190.04 | 102 | 75.36 | 12.68
| Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 2130 | 1.48 | 1.138 | 0.18668 | 2.8047 | 5973.97 | 3152.4 | 2423.95 | 397.62
| Single Conductor (THHN/THWN-2) - Stranded | AWG#3/0 | FT | 1620 | 4.4738 | 0.97178 | 0.41621 | 5.8618 | 9496.05 | 7247.53 | 1574.27 | 674.25
| Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | FT | 540 | 0.87 | 1.04 | 0.132 | 2.042 | 1102.68 | 469.8 | 561.6 | 71.28
| [ Sub Total ] | [7 empty] | 27338.98 | 15049.99 | 10457.59 | 1831.4
□ LIGHTING PLAN
| LED FLOOD LIGHTING | LED 95W | EA | 36 | 308 | 225.9635 | 38.1978 | 572.1613 | 20597.8 | 11088 | 8134.68 | 1375.12
| LED LIGHTING Canopy | LED 20W | EA | 14 | 90 | 129.122 | 14.9473 | 234.0693 | 3276.96 | 1260 | 1807.7 | 209.26
| WALL MOUNTED | LED 80W | EA | 4 | 330 | 250 | 41.4 | 621.4 | 2485.6 | 1320 | 1000 | 165.6
| EMERGENCY EXIT LED SIGN | LED 2W | EA | 12 | 103.53 | 64.5 | 12.1524 | 180.1824 | 2162.18 | 1242.36 | 774 | 145.82
| CONDUIT HANGER SUPPORT | 3/4" | SET | 375 | 12.38 | 14.66 | 1.87 | 28.91 | 10841.25 | 4642.5 | 5497.5 | 701.25
| CONNECTION AND TERMINATION | AWG#10 | EA | 288 | 3.0245 | 2.023 | 0.36334 | 5.4108 | 1558.3 | 871.05 | 582.61 | 104.64
| CONNECTION AND TERMINATION | AWG#12(GROUNDING) | EA | 144 | 2.98 | 2 | 0.3584 | 5.3384 | 768.72 | 429.12 | 288 | 51.6
| ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 2240 | 1.16 | 2.99 | 0.2722 | 4.4222 | 9905.72 | 2598.4 | 6697.6 | 609.72
| JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 83 | 8.9 | 35.8 | 2.86 | 47.56 | 3947.48 | 738.7 | 2971.4 | 237.38
| Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 4600 | 0.39 | 0.97 | 0.0894 | 1.4494 | 6667.24 | 1794 | 4462 | 411.24
| Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 2300 | 0.29 | 0.95 | 0.0802 | 1.3202 | 3036.46 | 667 | 2185 | 184.46
| WALL SWITCH | 120-277V, SINGLE POLE | EA | 2 | 10.56 | 56.925 | 4.2603 | 71.7453 | 143.49 | 21.12 | 113.85 | 8.52
| [ Sub Total ] | [7 empty] | 65391.2 | 26672.25 | 34514.34 | 4204.61
□ RECEPTACLE PLAN
| CONDUIT HANGER SUPPORT | 3/4" | SET | 117 | 12.38 | 14.66 | 1.87 | 28.91 | 3382.47 | 1448.46 | 1715.22 | 218.79
| ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 720 | 1.16 | 2.99 | 0.2722 | 4.4222 | 3183.98 | 835.2 | 2152.8 | 195.98
| JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 24 | 8.9 | 35.8 | 2.86 | 47.56 | 1141.44 | 213.6 | 859.2 | 68.64
| RECEPTACLE | 120V, 20A DUPLEX. | EA | 12 | 15.38 | 62.67 | 4.9906 | 83.0406 | 996.48 | 184.56 | 752.04 | 59.88
| Receptacle Metal Cover | 1Gang 4" X 4" | EA | 12 | 2.54 | 2.11 | 0.3298 | 4.9798 | 59.75 | 30.48 | 25.32 | 3.95
| Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 1860 | 0.39 | 0.97 | 0.0894 | 1.4494 | 2695.88 | 725.4 | 1804.2 | 166.28
| Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 930 | 0.29 | 0.95 | 0.0802 | 1.3202 | 1227.78 | 269.7 | 883.5 | 74.58
| [ Sub Total ] | [7 empty] | 12687.78 | 3707.4 | 8192.28 | 788.1
□ RENTAL EQUIPMENT
| SCISSRO LIFT | 24'~26' | EA | 3 | 0 | 0 | 1200 | 1200 | 3600 | 0 | 0 | 3600
| BOOM LIFT | 27' | EA | 1 | 0 | 0 | 1900 | 1900 | 1900 | 0 | 0 | 1900
| EXCAVATOR | 18000Ib | EA | 1 | 0 | 0 | 3800 | 3800 | 3800 | 0 | 0 | 3800
[8 empty] | 0 | 0 | 0 | 0 | 0
| [ Sub Total ] | [7 empty] | 9300 | 0 | 0 | 9300
[ Sub Total ] | [ Sub Total ]
[ Total ]

## Details
Project:POD INSPECTION
|  | No. | Description | Specification | Units | Calculation |  | Quantity
[6 empty] | dist. | piece
1 |  | ■POD INSPECTION
2 |  | 1.POD INSPECTION
3 | NEW PANEL(PO-8001)600 AMP 480/277V NEMA1 | □ POWER DISTRIBUTION PLAN | NEW PANEL(PO-8001) | 600 AMP 480/277V NEMA1 | EA | 1 | 1 | 1
#REF! | TRANSFORMER (TRO-8001)45KVA 480:208/120V NEMA1 |  | TRANSFORMER (TRO-8001) | 45KVA 480:208/120V NEMA1 | EA | 1 | 1 | 1
#REF! | NEW PANEL(PO-LDP)125 AMP 208/120V 3PH,4W 42CKT |  | NEW PANEL(PO-LDP) | 125 AMP 208/120V 3PH,4W 42CKT | FT | 1 | 1 | 1
#REF! | PVC CONDUIT, SCHEDULE 404" |  | PVC CONDUIT, SCHEDULE 40 | 4" | FT | 1000 | 2 | 2000
#REF! | PVC CONDUIT, SCHEDULE 40 ELBOW4" |  | PVC CONDUIT, SCHEDULE 40 ELBOW | 4" | EA | 8 | 1 | 8
#REF! | MANHOLE (CONCRETE TYPE)5'W x 5'H x 5'D |  | MANHOLE (CONCRETE TYPE) | 5'W x 5'H x 5'D | EA | 5 | 1 | 5
#REF! | Asphalt cutting, Excavate, Concrete back filling, Asphalt finish3'W x 4'H (Asphalt cutting) 110ft |  | Asphalt cutting, Excavate, Concrete back filling, Asphalt finish | 3'W x 4'H (Asphalt cutting) 110ft | FT | 1000 | 1 | 1000
3 | Single Conductor (THHN/THWN) - StrandedAWG #350 |  | Single Conductor (THHN/THWN) - Stranded | AWG #350 | FT | 1100 | 8 | 8800
4 | Single Conductor (THHN/THWN) - StrandedAWG #1/0 (GROUNDING) |  | Single Conductor (THHN/THWN) - Stranded | AWG #1/0 (GROUNDING) | FT | 1100 | 2 | 2200
#REF! | LIQUIDTIGHT FLEXIBLE CONDUIT1-1/2" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 1-1/2" | FT | 6 | 1 | 6
#REF! | CONDUIT HANGER SUPPORT1-1/2" |  | CONDUIT HANGER SUPPORT | 1-1/2" | SET | 4 | 1 | 4
#REF! | ELECTRICAL METALLIC TUBING (EMT)+FITTING1-1/2" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 1-1/2" | FT | 10 | 1 | 10
#REF! | LG ENERGY SOLUTION |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#4 | FT | 20 | 3 | 60
#REF! | Parking lot C1_Highmast installation |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#8(GROUNDING) | FT | 20 | 1 | 20
#REF! | Single Conductor (THHN/THWN-2) - StrandedAWG#1 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#1 | FT | 20 | 4 | 80
| Single Conductor (THHN/THWN-2) - StrandedAWG#6(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | FT | 20 | 1 | 20
| LIQUIDTIGHT FLEXIBLE CONDUIT2" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 2" | FT | 6 | 1 | 6
| ELECTRICAL METALLIC TUBING (EMT)+FITTING2" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2" | FT | 10 | 1 | 10
| CONDUIT HANGER SUPPORT2" |  | CONDUIT HANGER SUPPORT | 2" | SET | 4 | 1 | 4
| PVC CONDUIT, SCHEDULE 401" ( TR Ground) |  | PVC CONDUIT, SCHEDULE 40 | 1" ( TR Ground) | FT | 30 | 1 | 30
| Single Conductor (THHN/THWN-2) - StrandedAWG#6(TR GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(TR GROUNDING) | FT | 30 | 1 | 30
| CONNECTION AND TERMINATION#350 Kcmil COMPRESSION TYPE |  | CONNECTION AND TERMINATION | #350 Kcmil COMPRESSION TYPE | EA | 8 | 2 | 16
| CONNECTION AND TERMINATIONAWG#1/0 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#1/0 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#1 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#1 COMPRESSION TYPE | EA | 4 | 2 | 8
| CONNECTION AND TERMINATIONAWG#4 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#4 COMPRESSION TYPE | EA | 3 | 2 | 6
| CONNECTION AND TERMINATIONAWG#6 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | EA | 2 | 1 | 2
| CONNECTION AND TERMINATIONAWG#8 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#8 COMPRESSION TYPE | EA | 4 | 1 | 4
| ALUMINUM CABLE TRAY (LADDER TYPE)24"Width, 4"height, 9"rung spacing |  | ALUMINUM CABLE TRAY (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | FT | 170 | 1 | 170
| ALUMINUM HORIZONTAL ELBOW (LADDER TYPE)24"Width, 4"height, 9"rung spacing |  | ALUMINUM HORIZONTAL ELBOW (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | EA | 2 | 1 | 2
| ALUMINUM VERTICAL ELBOW (LADDER TYPE)24"Width, 4"height, 9"rung spacing |  | ALUMINUM VERTICAL ELBOW (LADDER TYPE) | 24"Width, 4"height, 9"rung spacing | EA | 1 | 1 | 1 | G. TOTAL
| CABLE TRAY SUPPORT24" Width including beam clamp, square washer, unistrut, 2 rods(length:4ft~8ft, dia: 9/16"), etc |  | CABLE TRAY SUPPORT | 24" Width including beam clamp, square washer, unistrut, 2 rods(length:4ft~8ft, dia: 9/16"), etc | SET | 29 | 1 | 29
| CABLE TRAY BONDING JUMPER12" |  | CABLE TRAY BONDING JUMPER | 12" | EA | 22 | 1 | 22
0
|  | □ GROUNDING PLAN | [5 empty] | 0
| Single Conductor (THHN/THWN) - BAREAWG#4/0(GROUNDING) |  | Single Conductor (THHN/THWN) - BARE | AWG#4/0(GROUNDING) | FT | 540 | 1 | 540
| Excavation /w backfillW8" x H24" MESH |  | Excavation /w backfill | W8" x H24" MESH | FT | 460 | 1 | 460
| PVC CONDUIT, SCHEDULE 401" |  | PVC CONDUIT, SCHEDULE 40 | 1" | FT | 40 | 1 | 40
| COPPER ROD3/4 " X 10 ' |  | COPPER ROD | 3/4 " X 10 ' | EA | 8 | 1 | 8
| EXOTHEMIC WELDING CONNECTION (COLUMN)Mold , Ultra Shot , #90 , Weld to Column |  | EXOTHEMIC WELDING CONNECTION (COLUMN) | Mold , Ultra Shot , #90 , Weld to Column | EA | 4 | 1 | 4
| EXOTHEMIC WELDING CONNECTION (GROUND ROD)Mold , Ultra Shot , #90 , Weld to Rod |  | EXOTHEMIC WELDING CONNECTION (GROUND ROD) | Mold , Ultra Shot , #90 , Weld to Rod | EA | 8 | 1 | 8
[6 empty] | 0 | 1 | 0
|  | □ MECHANICAL POWER PLAN | [5 empty] | 0
|  | □FORM_PO-8001 |  |  |  | 0 | 1 | 0
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO1 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 40 | 1 | 40
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 11 | 1 | 11
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 80 | 1 | 80
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO2 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 70 | 1 | 70
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 16 | 1 | 16
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 110 | 1 | 110
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO3 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 100 | 1 | 100
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 21 | 1 | 21
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 140 | 1 | 140
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO4 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 50 | 1 | 50
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 11 | 1 | 11
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 160 | 1 | 160
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO5 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 50 | 1 | 50
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 11 | 1 | 11
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 190 | 1 | 190
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □DO6 (SHUTTER) | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 50 | 1 | 50
| LIQUIDTIGHT FLEXIBLE CONDUIT3/4" |  | LIQUIDTIGHT FLEXIBLE CONDUIT | 3/4" | FT | 12 | 1 | 12
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 11 | 1 | 11
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 220 | 1 | 220
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 4 | 4 | 16
| DISCONNECT SWITCH480V, 30 NEMA 1 (Without Fuse) |  | DISCONNECT SWITCH | 480V, 30 NEMA 1 (Without Fuse) | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING2-1/2" | □PLC1 CONTROL PANEL-1 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2-1/2" | FT | 30 | 1 | 30
| ELECTRICAL METALLIC TUBING (EMT) ELBOW2-1/2" |  | ELECTRICAL METALLIC TUBING (EMT) ELBOW | 2-1/2" | EA | 1 | 1 | 1
| CONDUIT HANGER SUPPORT2-1/2" |  | CONDUIT HANGER SUPPORT | 2-1/2" | EA | 5 | 1 | 5
| Single Conductor (THHN/THWN-2) - StrandedAWG#3/0 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#3/0 | FT | 150 | 3 | 450
| Single Conductor (THHN/THWN-2) - StrandedAWG#6(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | FT | 150 | 1 | 150
| CONNECTION AND TERMINATIONAWG#3/0 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#3/0 COMPRESSION TYPE | EA | 3 | 2 | 6
| CONNECTION AND TERMINATIONAWG#6 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING2-1/2" | □PLC2 CONTROL PANEL-2 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2-1/2" | FT | 30 | 1 | 30
| ELECTRICAL METALLIC TUBING (EMT) ELBOW2-1/2" |  | ELECTRICAL METALLIC TUBING (EMT) ELBOW | 2-1/2" | EA | 1 | 1 | 1
| CONDUIT HANGER SUPPORT2-1/2" |  | CONDUIT HANGER SUPPORT | 2-1/2" | EA | 5 | 1 | 5
| Single Conductor (THHN/THWN-2) - StrandedAWG#3/0 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#3/0 | FT | 180 | 3 | 540
| Single Conductor (THHN/THWN-2) - StrandedAWG#6(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | FT | 180 | 1 | 180
| CONNECTION AND TERMINATIONAWG#3/0 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#3/0 COMPRESSION TYPE | EA | 3 | 2 | 6
| CONNECTION AND TERMINATIONAWG#6 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING2-1/2" | □PLC3 CONTROL PANEL-3 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 2-1/2" | FT | 30 | 1 | 30
| ELECTRICAL METALLIC TUBING (EMT) ELBOW2-1/2" |  | ELECTRICAL METALLIC TUBING (EMT) ELBOW | 2-1/2" | EA | 1 | 1 | 1
| CONDUIT HANGER SUPPORT2-1/2" |  | CONDUIT HANGER SUPPORT | 2-1/2" | EA | 5 | 1 | 5
| Single Conductor (THHN/THWN-2) - StrandedAWG#3/0 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#3/0 | FT | 210 | 3 | 630
| Single Conductor (THHN/THWN-2) - StrandedAWG#6(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#6(GROUNDING) | FT | 210 | 1 | 210
| CONNECTION AND TERMINATIONAWG#3/0 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#3/0 COMPRESSION TYPE | EA | 3 | 2 | 6
| CONNECTION AND TERMINATIONAWG#6 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#6 COMPRESSION TYPE | EA | 1 | 2 | 2
[6 empty] | 0 | 1 | 0
|  | □FROM_RO-8001 |  |  |  | 0 | 1 | 0
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC1_PC CONTROL PANEL-1 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 130 | 1 | 130
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC2_PC CONTROL PANEL-2 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 160 | 2 | 320
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC3_PC CONTROL PANEL-3 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 170 | 1 | 170
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC4_PC CONTROL PANEL-4 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 190 | 1 | 190
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC5_PC CONTROL PANEL-5 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 200 | 1 | 200
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" | □PC6_PC CONTROL PANEL-6 | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 30 | 1 | 30
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 5 | 1 | 5
| Multi Conductor (THHN/THWN-2) - Stranded(3PH+1N+GROUNDING) AWG#10 |  | Multi Conductor (THHN/THWN-2) - Stranded | (3PH+1N+GROUNDING) AWG#10 | FT | 220 | 1 | 220
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 2 | 2 | 4
| CONNECTION AND TERMINATIONAWG#10 COMPRESSION TYPE |  | CONNECTION AND TERMINATION | AWG#10 COMPRESSION TYPE | EA | 1 | 2 | 2
[6 empty] | 0 | 1 | 0
□ LIGHTING PLAN
| LED FLOOD LIGHTING LED 95W | □CIRCUIT-L1 | LED FLOOD LIGHTING | LED 95W | EA | 18 | 1 | 18
| EMERGENCY EXIT LED SIGNLED 2W |  | EMERGENCY EXIT LED SIGN | LED 2W | EA | 6 | 1 | 6
| WALL MOUNTEDLED 80W |  | WALL MOUNTED | LED 80W | EA | 2 | 1 | 2
| LED LIGHTING CanopyLED 20W |  | LED LIGHTING Canopy | LED 20W | EA | 14 | 1 | 14
| WALL SWITCH120-277V, SINGLE POLE |  | WALL SWITCH | 120-277V, SINGLE POLE | EA | 2 | 1 | 2
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 1120 | 2 | 2240
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 1120 | 1 | 1120
| CONNECTION AND TERMINATIONAWG#10 |  | CONNECTION AND TERMINATION | AWG#10 | EA | 80 | 2 | 160
| CONNECTION AND TERMINATIONAWG#12(GROUNDING) |  | CONNECTION AND TERMINATION | AWG#12(GROUNDING) | EA | 80 | 1 | 80
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 46 | 1 | 46
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 1100 | 1 | 1100
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 184 | 1 | 184
| LED FLOOD LIGHTING LED 95W | □CIRCUIT-L2 | LED FLOOD LIGHTING | LED 95W | EA | 18 | 1 | 18
| EMERGENCY EXIT LED SIGNLED 2W |  | EMERGENCY EXIT LED SIGN | LED 2W | EA | 6 | 1 | 6
| WALL MOUNTEDLED 80W |  | WALL MOUNTED | LED 80W | EA | 2 | 1 | 2
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 790 | 2 | 1580
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 790 | 1 | 790
| CONNECTION AND TERMINATIONAWG#10 |  | CONNECTION AND TERMINATION | AWG#10 | EA | 64 | 2 | 128
| CONNECTION AND TERMINATIONAWG#12(GROUNDING) |  | CONNECTION AND TERMINATION | AWG#12(GROUNDING) | EA | 64 | 1 | 64
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 32 | 1 | 32
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 750 | 1 | 750
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 125 | 1 | 125
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 | □CIRCUIT-L3 Booth Lighting Power | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 100 | 2 | 200
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 100 | 1 | 100
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 2 | 1 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 100 | 1 | 100
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 17 | 1 | 17
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 | □CIRCUIT-L4 Booth Lighting Power | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 130 | 2 | 260
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 130 | 1 | 130
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 2 | 1 | 2
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 130 | 1 | 130
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 22 | 1 | 22
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 | □CIRCUIT-L4 Booth Lighting Power | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 160 | 2 | 320
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 160 | 1 | 160
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 1 | 1 | 1
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 160 | 1 | 160
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 27 | 1 | 27
0
|  | □ RECEPTACLE PLAN | [5 empty] | 0
| RECEPTACLE120V, 20A DUPLEX. | □CIRCUIT-R1 | RECEPTACLE | 120V, 20A DUPLEX. | EA | 3 | 1 | 3
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 6 | 1 | 6
| Receptacle Metal Cover1Gang 4" X 4" |  | Receptacle Metal Cover | 1Gang 4" X 4" | EA | 3 | 1 | 3
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 170 | 2 | 340
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 170 | 1 | 170
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 160 | 1 | 160
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 27 | 1 | 27
| RECEPTACLE120V, 20A DUPLEX. | □CIRCUIT-R2 | RECEPTACLE | 120V, 20A DUPLEX. | EA | 3 | 1 | 3
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 6 | 1 | 6
| Receptacle Metal Cover1Gang 4" X 4" |  | Receptacle Metal Cover | 1Gang 4" X 4" | EA | 3 | 1 | 3
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 190 | 1 | 190
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 190 | 2 | 380
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 180 | 1 | 180
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 30 | 1 | 30
| RECEPTACLE120V, 20A DUPLEX. | □CIRCUIT-R3 | RECEPTACLE | 120V, 20A DUPLEX. | EA | 3 | 1 | 3
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 6 | 1 | 6
| Receptacle Metal Cover1Gang 4" X 4" |  | Receptacle Metal Cover | 1Gang 4" X 4" | EA | 3 | 1 | 3
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 290 | 2 | 580
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 290 | 1 | 290
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 190 | 1 | 190
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 30 | 1 | 30
| RECEPTACLE120V, 20A DUPLEX. | □CIRCUIT-R4 | RECEPTACLE | 120V, 20A DUPLEX. | EA | 3 | 1 | 3
| JUNCTION BOX, NEMA-14" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label |  | JUNCTION BOX, NEMA-1 | 4" X 4" X 2" (1/2" & 3/4" KNOCK OUT ) pigtail / wire connector / blank cover / label | EA | 6 | 1 | 6
| Receptacle Metal Cover1Gang 4" X 4" |  | Receptacle Metal Cover | 1Gang 4" X 4" | EA | 3 | 1 | 3
| Single Conductor (THHN/THWN-2) - StrandedAWG#10 |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#10 | FT | 280 | 2 | 560
| Single Conductor (THHN/THWN-2) - StrandedAWG#12(GROUNDING) |  | Single Conductor (THHN/THWN-2) - Stranded | AWG#12(GROUNDING) | FT | 280 | 1 | 280
| ELECTRICAL METALLIC TUBING (EMT)+FITTING3/4" |  | ELECTRICAL METALLIC TUBING (EMT)+FITTING | 3/4" | FT | 190 | 1 | 190
| CONDUIT HANGER SUPPORT3/4" |  | CONDUIT HANGER SUPPORT | 3/4" | EA | 30 | 1 | 30